## Cover (hidden)
Asset Type | Make | Model | Serial | Equipment Location | System Number | Manufacture Year | Electrical Connection (V/Ph/Hz) | Curb/Curb Cap | Condenser Fins | Refrigerant Asset Tag | Condition | Temp Class (low, med, dual) | Refrigerant Charge | Refrigerant Type | Photo | Comments | Estimated Count Per Super Target | Estimated Count Per Pfresh | Estimated Count Per General Merchandise | Notes
bakery/deli, salesfloor, café, Starbucks, roof, stockroom
Self-Contained |  |  |  |  | n/a |  |  | n/a | n/a | [5 empty] | front of unit, side view |  | 30 | 30 | 20
Air-Cooled Condensers | [6 empty] | n/a | [5 empty] | n/a |  | side view and coil |  | 2 | 2 | 2
Evaporative Condensers | [6 empty] | n/a |  | n/a |  |  |  | n/a |  | both side views and fan |  | 2 | 2 | 2 | Only located in SW
Condensing Units | [6 empty] | n/a | [7 empty] | coil and cabinet |  | 7 | 3 | 3
CU Compressors |  |  |  |  | n/a |  | n/a | n/a | n/a |  |  | n/a | n/a |  | n/a | n/a | See above | See above | See above
Walk-In Boxes |  | n/a | n/a |  |  | n/a | n/a | n/a | n/a | n/a |  |  | n/a | n/a | walk-in door, alarms equipment |  | 7 | 3 | 3
Walk-In Evaporator | [6 empty] | n/a | n/a | n/a |  |  |  | n/a |  | evap coils |  | 14 | 6 | 6
Salesfloor Cases | [6 empty] | n/a | n/a | n/a |  |  |  | n/a |  | front and side views |  | 200 | 110 | 56
Rack | [6 empty] | n/a | n/a | n/a | [7 empty] | 2 | 2 | 0
Rack Compressors | [6 empty] | n/a | n/a | n/a |  |  | n/a | n/a |  | n/a | n/a | 8 | 8 | See above
Survey Tools
Ladder
Screw Driver (opening cabinets)
[5 empty] | Trainers | Trainers + 4 ea | PMs and Trainers | [9 empty] | Format | Store Count | Total Hours | Ratio to Pfresh | total avg hrs |  | total avg hrs | Intro & Acclimation | Days per store (9 hr day avg)
[5 empty] | 5 | 20 | 50 | [9 empty] | SuperTarget | 247 | 10.5 | 1.6154 | 9.3143 | 10.0643 | 6.3143 | 7.0643 | 0.78492 | 745.674
[17 empty] | PFresh | 1526 | 6.5 | 1 | 5.766 | 6.516 | 2.766 | 3.516 | 0.39066 | 371.1315
[17 empty] | Unique | 9 | 8.5 | 1.3077 | 7.6878 | 8.4378 | 4.6878 | 5.4378 | 0.6042 | 573.9916
[17 empty] | Flex | 22 | 4.5 | 0.69231 | 3.9918 | 4.7418 | 3.2418 | 3.9918 | 0.44354 | 421.3603
[18 empty] | 1804 |  |  |  | 1.1183
0.724
0.93754
[17 empty] | Assume a day is 9 hrs. |  |  |  |  | 0.52687
[17 empty] | Add another table for $950 |  |  | Need a per store cost
*convert to hourly rate (reduced scope from Target)
each PM will need to do 6 stores per week
[17 empty] | Put one in for $1250 |  |  | 1/2 day mon and fri for travel
[17 empty] | *Reduced scope at $1250 |  |  | What is the max number of stores per week on average?
[17 empty] | Then table for removed cases and self contained |  |  | What is the cost/store/week?
@ two prices, only if > $1MM
Send to Ed and Blake
Tell Blake that Ed is tied up until noon. We can work out any questions, then have call

## Cost Analyses (hidden)
Format | Store Count | Client Estimated Total Hours | Calculated Full Scope Hrs* | Reduced Scope Hrs* (No cases/self-contained units)
SuperTarget | 247 | 10.5 | 13.4491 | 10.4491
PFresh | 1526 | 6.5 | 8.6113 | 5.6113
Unique | 9 | 8.5 | 10.5332 | 7.5332
Flex | 22 | 4.5 | 6.1925 | 5.4425
| 1804 |  | *Includes 45 minutes of acclimation and interview time (travel not included)
Estimates assume we are not moving any goods and if nameplates are not readily evident, we note it and move on.

## HVAC
Asset Type |  | Rooftop Unit | Dehumidification Unit | Air Handling Unit | Fan Coil Unit | Forced Air Furnace | Chiller | Cooling Tower | Air Cooled Condenser | Pump | Boiler | Heat Pump | Open Drive Compressor | HVAC Split-System | Power Roof Ventilators (Exhaust Fans) | Sum | Average minutes/store | Data collection Hrs | UNIQUE Stores
Total Quantity |  | 33000 | 2000 | 100 | 50 | 100 | 20 | 11 | 25 | 50 | 24 | 40 | 16 | 2000 | 3500 |  |  |  | SUM | Avg/store | Hrs
Avg Per Store |  | 15 | 1 | Unique | Unique | Unique | Unique | Unique | Unique | Unique | Unique | Unique | Unique | 0 to 3 | 3 to 4
| Time per each unit type (minutes) | 5 | 7 | 5 | 5 | 5 | 5 | 10 | 5 |  | 5 | 5 | 5 | 5 | 5
|  | 165000 | 14000 | 500 | 250 | 500 | 100 | 110 | 125 | 0 | 120 | 200 | 80 | 10000 | 17500 | 206500 | 114.4678 | 1.9078 | 2068 | 34.4667 | 3.8296
Asset Field | Asset Name | RTU-01 | DHU-01 | AHU-01 | FCU-01 | FAF-01 | CH-01 | CT-1 | ACC-01 | P-1 | B-1 | HP-01 | ODC-01 | N/A | N/A
| Make | YORK | Munters | Daikin | Daikin | Reznor | Trane | BAC | Daikin | Bell & Gossett | Harsco | Carrier | Carrier | N/A | N/A
| Model | LGA102H2B | HC5015 | CAH050GDAC | CAH050GDAC | DF4 | RTWD060 | VT1375PR | RCS072D | E-80 | C750 | 50PCH | 50PCH | N/A | N/A
| Serial | 5067C05612 | 5067C05612 | 506705612 | 506705612 | 785642 | 785642 | U036953901MAD | 785642 | 758645 | 758458 | 758458 | 758458 | N/A | N/A
Specifications | Asset Size/Capacity | 10 | 10 | 24000 | 24000 | 350 | 300 | 350 | 100 | 500 | 750 | 10 | 8.5 | N/A | N/A
| Unit of Measure | tons | tons | CFM | CFM | MBH | tons | tons | tons | GPM | MBH | tons | tons | N/A | N/A
| Install Year | 1995 | 1995 | 1995 | 1995 | 1995 | 1995 | 1995 | 2016 | 1995 | 1995 | 1995 | 1995 | N/A | N/A
| Area Served | Food Service | Sales Market | Sales | Sales | Sales | N/A | N/A | N/A | N/A | N/A | Food Service | N/A | N/A | N/A
| Set 1 Filter Quanity | 6 | 6 | 6 | 6 | 6 | N/A | N/A | N/A | N/A | N/A | 6 | N/A | N/A | N/A
| Set 1 Filter Size | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | N/A | N/A | N/A | N/A | N/A | 12 x 20 x 1 | N/A | N/A | N/A
| Set 2 Filter Quantity | 6 | 6 | 6 | 6 | 6 | N/A | N/A | N/A | N/A | N/A | 6 | N/A | N/A | N/A
| Set 2 Filter Size | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | N/A | N/A | N/A | N/A | N/A | 12 x 20 x 1 | N/A | N/A | N/A
| Set 3 Filter Quantity (ERVs and Munters Units have additional filters) | 6 | 6 | 6 | 6 | N/A | N/A | N/A | N/A | N/A | N/A | 6 | N/A | N/A | N/A
| Set 3 Filter Size | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | 12 x 20 x 1 | N/A | N/A | N/A | N/A | N/A | N/A | 12 x 20 x 1 | N/A | N/A | N/A
| Mist Eliminator Size (Metal or mesh screen on the outside air intake) | 36 x 36 x 1 | 36 x 36 x 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 36 x 36 x 1 | N/A | N/A | N/A
| Refrigerant Tag ID Number (Just take down one tag number) | 123456789 | 123456789 | N/A | 123456789 | N/A | 123456789 | N/A | 123456789 | N/A | N/A | 123456789 | 123456789 | N/A | N/A
| Refrigerant Type | R-410A | R-410A | N/A | R-410A | N/A | R-410A | N/A | N/A | N/A | N/A | R-410A | R-410A | N/A | N/A
| Refrigerant Charge (lbs) | 50 | 50 | N/A | 50 | N/A | 250 | N/A | N/A | N/A | N/A | 25 | 50 | N/A | N/A
| Energy Recover Ventilator (ERV) | Y | Y | Y | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Variable Frequency Drive (VFD) | Y | Y | Y | Y | N/A | N/A | N/A | N/A | N/A | N/A | Y | N/A | N/A | N/A
| Belt 1 Quantity | 2 | 2 | 2 | 2 | 2 | N/A | N/A | N/A | N/A | N/A | 2 | N/A | N/A | N/A
| Belt 1 Size | P463-A41 | P463-A41 | P463-A41 | P463-A41 | P463-A41 | N/A | N/A | N/A | N/A | N/A | P463-A41 | N/A | N/A | N/A
| Belt 2 Quantity | 2 | 2 | 2 | 2 | 2 | N/A | N/A | N/A | N/A | N/A | 2 | N/A | N/A | N/A
| Belt 2 Size | P463-A41 | P463-A41 | P463-A41 | P463-A41 | P463-A41 | N/A | N/A | N/A | N/A | N/A | P463-A41 | N/A | N/A | N/A
| Belt 3 Quantity | 2 | 2 | 2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | N/A | N/A | N/A
| Belt 3 Size | P463-A41 | P463-A41 | P463-A41 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | P463-A41 | N/A | N/A | N/A
| Unit Voltage | 460-3 | 460-3 | 460-3 | 460-3 | 460-3 | 460-3 | 460-3 | 460-3 | 460-3 | N/A | 460-3 | N/A | N/A | N/A
| Condenser Coil Condition (1-3) | 3 | 3 | N/A | N/A | N/A | N/A | N/A | 3 | N/A | N/A | 3 | N/A | N/A | N/A
| Cabinet Condition (1-3) | 3 | 3 | N/A | N/A | N/A | N/A | N/A | 3 | N/A | N/A | 3 | N/A | N/A | N/A
| Air-Cooled | N/A | N/A | N/A | N/A | N/A | Y/N | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Pump | N/A | N/A | N/A | N/A | N/A | Y/N | Y/N | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Heating System/Cooling System | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Heating System | N/A | N/A | N/A | N/A | N/A
| HP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 25 | N/A | N/A | N/A | N/A | N/A
| Head | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 150 | N/A | N/A | N/A | N/A | N/A
| Water-Cooled | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Y | N/A | N/A | N/A
| Total number at store | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | 2
Notes: |  | tons: P-Store averages 15 RTUs SuperTarget averages 20 RTUs; tons: Each store averages 1 DHU. Munters Units have filters in the supply fan section and the regeneration section.
| Condenser Coil Condition | tons: Cabinet Condition
| 1. Minimal to no damage, can be combed out and/or cleaned | tons: 1. Minimal corrosion/rust
| 2. Moderate damage, can be combed, minimal corrosion | tons: 2. Moderate corrosion/rust
| 3. Extensive fin corrosion, fins erode to the touch, visible compressor oil, major hail damage | tons: 3. External rust to the point where components can’t function, missing cabinet seals
All stores have Rooftop Units and Dehumidification Units except the following:
Unique Stores
LocID |  | tons: LocationName; tons: Category
T0068 |  | tons: East St Paul, MN; tons: UNIQUE-BOILER; MBH: UNIQUE-BOILER; tons: Boiler
T0273 |  | tons: Modesto, CA; tons: UNIQUE-AHU-XL; MBH: UNIQUE-ACC-L; tons: Air-Cooled Condenser
T0273 |  | tons: Modesto, CA; tons: UNIQUE-ACC-L; MBH: UNIQUE-AHU-L; tons: Air-Handling unit
T0273 |  | tons: Modesto, CA; tons: UNIQUE-ACC-L; MBH: UNIQUE-ODC; tons: Open Drive Compressors
T0276 |  | tons: Victorville, CA; tons: UNIQUE-AHU-L; MBH: UNIQUE-EVAP; tons: Evap Condenser
T0276 |  | tons: Victorville, CA; tons: UNIQUE-ODC; MBH: UNIQUE-ACC; tons: Air-Cooled Condenser
T0276 |  | tons: Victorville, CA; tons: UNIQUE-EVAP; MBH: UNIQUE-CHILLER; tons: Chiller
T0293 |  | tons: Fullerton, CA; tons: UNIQUE-AHU-XL; MBH: UNIQUE-TOWER; tons: Cooling Tower
T0293 |  | tons: Fullerton, CA; tons: UNIQUE-ODC; MBH: UNIQUE-HEATPUMP; tons: Heat Pump
T0293 |  | tons: Fullerton, CA; tons: UNIQUE-EVAP
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-AHU-L
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-AHU-L
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-ODC
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-EVAP
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-EVAP
T0297 |  | tons: San Bernardino, CA; tons: UNIQUE-ODC
T0300 |  | tons: Mission Viejo, CA; tons: UNIQUE-AHU-XL
T0300 |  | tons: Mission Viejo, CA; tons: UNIQUE-ACC-L
T0300 |  | tons: Mission Viejo, CA; tons: UNIQUE-ACC-L
T0303 |  | tons: Oceanside, CA; tons: UNIQUE-AHU-XL
T0303 |  | tons: Oceanside, CA; tons: UNIQUE-ODC
T0303 |  | tons: Oceanside, CA; tons: UNIQUE-ACC
T0303 |  | tons: Oceanside, CA; tons: UNIQUE-AHU-L
T0303 |  | tons: Oceanside, CA; tons: UNIQUE-ACC-L
T0304 |  | tons: El Cajon, CA; tons: UNIQUE-AHU-XL
T0304 |  | tons: El Cajon, CA; tons: UNIQUE-ODC
T0304 |  | tons: El Cajon, CA; tons: UNIQUE-EVAP
T0304 |  | tons: El Cajon, CA; tons: UNIQUE-ODC
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-ODC
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-ACC-L
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-ODC
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-ACC-L
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-AHU-L
T0309 |  | tons: Santa Maria, CA; tons: UNIQUE-AHU-L
T0311 |  | tons: Sacramento Madison, CA; tons: UNIQUE-AHU-XL
T0311 |  | tons: Sacramento Madison, CA; tons: UNIQUE-ACC-L
T0311 |  | tons: Sacramento Madison, CA; tons: UNIQUE-ACC-L
T0312 |  | tons: Sacramento Arden, CA; tons: UNIQUE-ACC-L
T0312 |  | tons: Sacramento Arden, CA; tons: UNIQUE-AHU-XL
T0312 |  | tons: Sacramento Arden, CA; tons: UNIQUE-ACC-L
T0313 |  | tons: Stockton, CA; tons: UNIQUE-AHU-XL
T0313 |  | tons: Stockton, CA; tons: UNIQUE-ACC-L
T0313 |  | tons: Stockton, CA; tons: UNIQUE-ACC-L
T0314 |  | tons: Fresno South, CA; tons: UNIQUE-EVAP
T0314 |  | tons: Fresno South, CA; tons: UNIQUE-ODC
T0314 |  | tons: Fresno South, CA; tons: UNIQUE-ODC
T0314 |  | tons: Fresno South, CA; tons: UNIQUE-EVAP
T0314 |  | tons: Fresno South, CA; tons: UNIQUE-AHU-XL
T0317 |  | tons: Chico, CA; tons: UNIQUE-ACC-L
T0317 |  | tons: Chico, CA; tons: UNIQUE-ODC
T0317 |  | tons: Chico, CA; tons: UNIQUE-ACC-L
T0317 |  | tons: Chico, CA; tons: UNIQUE-ODC
T0317 |  | tons: Chico, CA; tons: UNIQUE-AHU-XL
T0366 |  | tons: Lexington, KY; tons: UNIQUE-CHILLER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-TOWER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-TOWER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-BOILER
T0366 |  | tons: Lexington, KY; tons: UNIQUE-AHU-L
T0366 |  | tons: Lexington, KY; tons: UNIQUE-AHU-L
T0366 |  | tons: Lexington, KY; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-CHILLER
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-CHILLER
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-EVAP
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T0883 |  | tons: Pasadena, CA; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-AHU-L
T1039 |  | tons: Dadeland, FL; tons: UNIQUE-ACC
T1054 |  | tons: Tanforan, CA; tons: UNIQUE-CHILLER
T1054 |  | tons: Tanforan, CA; tons: UNIQUE-TOWER
T1054 |  | tons: Tanforan, CA; tons: UNIQUE-AHU-XL
T1054 |  | tons: Tanforan, CA; tons: UNIQUE-AHU-XL
T1054 |  | tons: Tanforan, CA; tons: UNIQUE-AHU-XL
T1344 |  | tons: Queens Place, NY; tons: UNIQUE-AHU-L
T1344 |  | tons: Queens Place, NY; tons: UNIQUE-AHU-L
T1344 |  | tons: Queens Place, NY; tons: UNIQUE-AHU-L
T1344 |  | tons: Queens Place, NY; tons: UNIQUE-AHU-L
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-CHILLER
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-AHU-XL
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-TOWER
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-BOILER
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-BOILER
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-BOILER
T1407 |  | tons: Daly City Serramonte, CA; tons: UNIQUE-BOILER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-CHILLER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-CHILLER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-TOWER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-TOWER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-TOWER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-TOWER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-BOILER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-BOILER
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-AHU-XL
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-AHU-L
T1408 |  | tons: Los Angeles Eagle Rock, CA; tons: UNIQUE-AHU
T1410 |  | tons: San Diego Mission Valley, CA; tons: UNIQUE-AHU-XL
T1410 |  | tons: San Diego Mission Valley, CA; tons: UNIQUE-AHU-XL
T1410 |  | tons: San Diego Mission Valley, CA; tons: UNIQUE-AHU-L
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-CHILLER
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-CHILLER
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-AHU-XL
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-AHU-XL
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-TOWER
T1411 |  | tons: Rosemead, CA; tons: UNIQUE-BOILER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-CHILLER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-CHILLER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-TOWER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-BOILER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-BOILER
T1419 |  | tons: Portland East, OR; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-CHILLER
T1449 |  | tons: Metairie, LA; tons: UNIQUE-CHILLER
T1449 |  | tons: Metairie, LA; tons: UNIQUE-TOWER
T1449 |  | tons: Metairie, LA; tons: UNIQUE-TOWER
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1449 |  | tons: Metairie, LA; tons: UNIQUE-AHU-L
T1525 |  | tons: Silverthorne, CO; tons: UNIQUE-BOILER
T1525 |  | tons: Silverthorne, CO; tons: UNIQUE-BOILER
T1893 |  | tons: Skyline, VA; tons: UNIQUE-TOWER
T1893 |  | tons: Skyline, VA; tons: UNIQUE-TOWER
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-HEATPUMP
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1893 |  | tons: Skyline, VA; tons: UNIQUE-AHU-L
T1959 |  | tons: Gilbert SE, AZ; tons: UNIQUE-EVAP
T1960 |  | tons: Gilbert SW, AZ; tons: UNIQUE-EVAP
T2227 |  | tons: Peoria Far North, AZ; tons: UNIQUE-EVAP
T2236 |  | tons: Deer Valley, AZ; tons: UNIQUE-EVAP
T2339 |  | tons: Wasilla, AK; tons: UNIQUE-BOILER
T2339 |  | tons: Wasilla, AK; tons: UNIQUE-BOILER
T2354 |  | tons: Phoenix Spectrum, AZ; tons: UNIQUE-EVAP
T2365 |  | tons: Queen Creek, AZ; tons: UNIQUE-EVAP
T2371 |  | tons: Anchorage NE, AK; tons: UNIQUE-BOILER
T2371 |  | tons: Anchorage NE, AK; tons: UNIQUE-BOILER
T2372 |  | tons: Anchorage South, AK; tons: UNIQUE-BOILER
T2372 |  | tons: Anchorage South, AK; tons: UNIQUE-BOILER
T2380 |  | tons: Harlem, NY; tons: UNIQUE-BOILER
T2380 |  | tons: Harlem, NY; tons: UNIQUE-BOILER
T2380 |  | tons: Harlem, NY; tons: UNIQUE-BOILER
T2380 |  | tons: Harlem, NY; tons: UNIQUE-ODC
T2380 |  | tons: Harlem, NY; tons: UNIQUE-ACC-L
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-ODC
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-ODC
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2380 |  | tons: Harlem, NY; tons: UNIQUE-AHU
T2400 |  | tons: Goodyear West, AZ; tons: UNIQUE-EVAP
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2766 |  | tons: San Francisco Central, CA; tons: UNIQUE-AHU
T2768 |  | tons: San Francisco West, CA; tons: UNIQUE-AHU-XL
T2768 |  | tons: San Francisco West, CA; tons: UNIQUE-BOILER
T2768 |  | tons: San Francisco West, CA; tons: UNIQUE-BOILER
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-CHILLER
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-EVAP
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2774 |  | tons: LA Westwood, CA; tons: UNIQUE-AHU
T2776 |  | tons: LA Central, CA; tons: UNIQUE-CHILLER
T2776 |  | tons: LA Central, CA; tons: UNIQUE-AHU-XL
T2776 |  | tons: LA Central, CA; tons: UNIQUE-AHU-XL
T2776 |  | tons: LA Central, CA; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-CHILLER
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU-XL
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU-XL
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU-XL
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU-XL
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2799 |  | tons: Chicago State St., IL; tons: UNIQUE-AHU
T2850 |  | tons: Brooklyn Fulton St; tons: UNIQUE-HEATPUMP
T2850 |  | tons: Brooklyn Fulton St; tons: UNIQUE-HEATPUMP
T2850 |  | tons: Brooklyn Fulton St; tons: UNIQUE-HEATPUMP
T2850 |  | tons: Brooklyn Fulton St; tons: UNIQUE-HEATPUMP
T2791 |  | tons: PORTLAND GALLERIA
T2802 |  | tons: ESCONDIDO, CA
T2811 |  | tons: THROGGS NECK, NY
T2822 |  | tons: BOSTON FENWAY
T0328 |  | tons: DUBLIN, CA

## Refrigeration
Asset Type | Attributes | Air Cooled Condenser | Evaporative Condenser | Condensing Unit | Condensing Unit Compressor | Rack/RTCR/DCR | Rack Compressors | Walk In Box | Walk In Evaporator | Cases |  | Sum | hrs | Hrs/Store
Total Quanity |  | 3540 | 62 | 5400 | 5400 | 3600 | 18000 | 5400 | 10800 | 216000
Avg Per Store |  | 2 | 2 | 3 | 3 | 2 | 10 | 3$ | 5 | 120 | Notes
| Minutes / Item | 5 | 5 | 5 | 5 | 5 | 5 | 3 | 3 | 0.5
| total Minutes | 17700 | 310 | 27000 | 27000 | 18000 | 90000 | 16200 | 32400 | 108000 |  | 336610 | 5610.1667 | 3.1098
Asset Field | Asset Name* | ACC A | ECC A | CU-F | 1 | RTCR A | 1 | A-01 | ### (A-01A) | B-01A | If missing, make note |  | 0 | 0
| Make | Bohn | Baltimore Air Coil | Bohn | Bitzer | Zero Zone | Bitzer | CrownTonka | Bohn | Hussmann |  | 228610 | 3810.1667 | 2.1121
| Model | ### | ### | ### | ### | ### | ### | ### (Panel Thickness) | ### | ###
| Serial | ### | ### | ### | ### | ### | ### | --- | ### | ###
| Location | Roof | Roof | Plenum | --- | Roof | --- | Stock | --- | Sales Floor
Specifications | Area Served/Service | System A | System A | System F | CU-F | System A | A | Frozen | A-01 | Produce
| Refrigerant Type | R-12 | R-12 | R-12 | --- | R-12 | --- | --- | --- | ---
| Refrigerant Charge | --- | --- | ### | --- | ### | --- | --- | --- | ---
| Refrigerant Tag ID Number | ### | ### | ### | ### | ### | ### | --- | ### | ###
| Unit Voltage | ### | ### | ### | --- | ### | --- | --- | ### | ---
| Unit Phase | ### | ### | ### | --- | ### | --- | --- | ### | ---
| Size | ### | ### | ### | ### | --- | ### | --- | ### | ###
| Units | Fans | MBH | MBH | HP | --- | HP | --- | Fans | Doors -or- Length
| Unloading | Y/N | Y/N | Y/N | Y/N | --- | Y/N | --- | --- | ---
| Head Fan | --- | --- | --- | Y/N | --- | Y/N | --- | --- | ---
| Liquid Cooling | --- | --- | --- | Y/N | --- | Y/N | --- | --- | ---
| Overhead Lighting Type | --- | --- | --- | --- | --- | --- | LED -or- CFL | --- | ---
| Rear-Fed Doors | --- | --- | --- | --- | --- | --- | Y/N | --- | ---
| Door Lighting Type | --- | --- | --- | --- | --- | --- | LED -or- CFL | --- | LED -or- CFL
| Door Lighting Manufacturer | --- | --- | --- | --- | --- | --- | Anthony | --- | Anthony
| Overall Condition (1-3) | ### | ### | ### | ### | ### | ### | ### | ### | ###
| Cabinet Condition (1-3) | ### | ### | ### | --- | ### | --- | --- | --- | ---
| Condenser Fin Condition (1-3) | ### | ### | ### | --- | --- | --- | --- | --- | ---
| Rail/Curb Condition (1-3) | ### | ### | ### | --- | ### | --- | --- | --- | ---
| Condition Notes** | ### | ### | ### | ### | ### | ### | ### | ### | ###
Notes: |  | *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of condenser fin damage. | Equipment primarily located in south-west. *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of tube bundle damage. | *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of damage. | * Record position in "Asset Name" | **Unit pictures. | * Record position in "Asset Name" | $ Super Targets will have around 7 **Note ice, panels splitting, reseal and take pictures of damage. May need access to top of box. | **Only need to note/pictures of ice buildup/damage. | **Only need to note/pictures of damage.
Overall Condition Scoring | Units: 1. Like-new
2. Scuff marks, small dents/dings, low number of missing components, dirty
3. Major rust, dents, missing components, visibly failed
Cabinet Condition Scoring | Units: 1. Minimal corrosion/rust; ---: Moving goods in order to access the nameplates
2. Moderate corrosion/rust
3. External rust to the point where components can’t function, missing cabinet seals
Condenser Fin Condition Scoring | Units: 1. Minimal to no damage, can be combed out
2. Moderate damage, can be combed, minimal corrosion, plugged/dirty
3. Extensive fin corrosion, fins erode to the touch, visible compressor oil, major hail damage
Rail/Curb Condition Scoring | Units: 1. Minimal corrosion/rust
2. Moderate corrosion/rust
3. Rust holes, missing/rusted through bolts, curb sealant missing, holes in curb
Select from list
Locked to Asset Type
Note on B14: Byers, Brett: need clarification on the meaning.
Note on B21: Byers, Brett: Can be dry cooler (aka, Liebert type air cooled condenser), closed loop evaporative cooling, or open loop with a heat exchanger.

## Self-Contained
Asset Type | Self-Contained
Total Quanity | 54000
Avg Per Store | 30
minutes/unit | 1.5
| 81000 |  | 44.9002 | 0.74834
| Attributes | Example | Notes
Asset Field | Asset Name* | B-01A | If missing, make note
| Make | Hussmann
| Model | ###
| Serial | ###
| Location | ---
| Refrigerant Tag ID Number | ###
| Refrigerant Type | R-12
| Refrigerant Charge | ###
| Size | ###
| Units | Doors -or- Length
| Lighting Type | LED -or- CFL
| Lighting Manufacturer | Anthony
| Condition (1-3) | ###
Condition Notes*
Notes: | *If not monitored, record N/A. **Only need to note/pictures of damage.
|  | *Asset Names | Bagged Ice Freezer
Counter Top Cooler
Grab n Go cooler
Ice Maker
Prep Table
Retarder
Reach-In_Upright Cooler
Reach-In_Upright Freezer
Experience Center
Orchard Bin
Produce Table
Seafood Road Show
Starbucks_Pastry Case
Under Counter Cooler
Under Counter Freezer
Overall Condition Scoring | 1. Like-new
2. Scuff marks, small dents/dings, low number of missing components, dirty
3. Major rust, dents, missing components, visibly failed

## Attributes
Asset Category | Asset Type | Asset Name | Location | Area Served/Service | Make | Model | Serial | Asset Size/Capacity | Unit of Measure | Install Year | Refrigerant Tag ID Number (Just take down one tag number) | Refrigerant Type | Refrigerant Charge (lbs) | Energy Recover Ventilator (ERV) | Unit Voltage | Unit Phase | Air-Cooled | Water-Cooled | Unloading | Head Fan | Liquid Cooling | Lighting Type | Overhead Lighting Type | Door Lighting Type | Door Lighting Manufacturer | Lighting Manufacturer | Rear-Fed Doors | Total number at store | Overall Condition (1-3) | Condenser Coil Condition (1-3) | Condenser Fin Condition (1-3) | Cabinet Condition (1-3) | Rail/Curb Condition (1-3) | Condition Notes**
HVAC | Rooftop Unit |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Dehumidification Unit |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Air Handling Unit |  | N/A | N/A |  |  |  | Num | CFM | YYYY | N/A | N/A | N/A | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Fan Coil Unit |  | N/A | N/A |  |  |  | Num | CFM | YYYY |  |  | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Forced Air Furnace |  | N/A | N/A |  |  |  | Num | MBH | YYYY | N/A | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Chiller |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | N/A |  |  | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Cooling Tower |  | N/A | N/A |  |  |  | Num | Tons | YYYY | N/A | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Air Cooled Condenser |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Boiler |  | N/A | N/A |  |  |  | Num | MBH | YYYY | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Heat Pump |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | N/A |  |  | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Open Drive Compressor |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | HVAC Split-System | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NUM | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Power Roof Ventilators (Exhaust Fans) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NUM | N/A | N/A | N/A | N/A | N/A | N/A
Refrig | Air Cooled Condenser | * | [5 empty] | Num | Fans | N/A |  |  |  | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Evaporative Condenser | * | [5 empty] | Num | MBH | N/A |  |  | N/A | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Condensing Unit | * | [5 empty] | Num | MBH | N/A |  |  |  | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Condensing Unit Compressor | * | N/A |  |  |  |  | Num | HP | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YORN | YORN | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Rack/RTCR/DCR | * | [5 empty] | N/A | N/A | N/A |  |  |  | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Rack Compressors | * | N/A |  |  |  |  | Num | HP | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YORN | YORN | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Walk In Box | * |  |  |  | (Panel Thickness) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED | CFL or LED |  | N/A | YORN | N/A |  | N/A | N/A | N/A | N/A
Refrig | Walk In Evaporator | * | N/A |  |  |  |  | Num | Fans | N/A |  | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Refrigerated Cases | * | [5 empty] | Num | Doors or Length | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED |  | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Self | Self-Contained | * |  | N/A |  |  |  | Num | Doors or Length | N/A |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED | N/A | N/A | N/A |  | N/A | N/A |  | N/A | N/A | N/A | N/A
|  | *Record position in asset name (e.g., CU-F, 1, RTCR A, A-01) | [5 empty] | N/A: 1. Like-new; N/A: **Note ice, panels splitting, reseal and take pictures of damage. May need access to top of box.
[29 empty] | Overall Condition Scoring | 2. Scuff marks, small dents/dings, low number of missing components, dirty
3. Major rust, dents, missing components, visibly failed
1. Minimal to no damage, can be combed out and/or cleaned
[29 empty] | Condenser Coil Condition | 2. Moderate damage, can be combed, minimal corrosion
3. Extensive fin corrosion, fins erode to the touch, visible compressor oil, major hail damage
1. Minimal corrosion/rust
[29 empty] | Cabinet Condition | 2. Moderate corrosion/rust
3. External rust to the point where components can’t function, missing cabinet seals
1. Minimal to no damage, can be combed out
[29 empty] | Condenser Fin Condition Scoring | 2. Moderate damage, can be combed, minimal corrosion, plugged/dirty
3. Extensive fin corrosion, fins erode to the touch, visible compressor oil, major hail damage
1. Minimal corrosion/rust
[29 empty] | Rail/Curb Condition Scoring | 2. Moderate corrosion/rust
3. Rust holes, missing/rusted through bolts, curb sealant missing, holes in curb
Note on V1: Byers, Brett: Can be dry cooler (aka, Liebert type air cooled condenser), closed loop evaporative cooling, or open loop with a heat exchanger.

## Sheet1
Asset Category | Asset Type | Asset Name | Location | Area Served/Service | Make | Model | Serial | Asset Size/Capacity | Unit of Measure | Install Year | Refrigerant Tag ID Number (Just take down one tag number) | Refrigerant Type | Refrigerant Charge (lbs) | Energy Recover Ventilator (ERV) | Unit Voltage | Unit Phase | Air-Cooled | Water-Cooled | Unloading | Head Fan | Liquid Cooling | Lighting Type | Overhead Lighting Type | Door Lighting Type | Door Lighting Manufacturer | Lighting Manufacturer | Rear-Fed Doors | Total number at store | Overall Condition (1-3) | Condenser Coil Condition (1-3) | Condenser Fin Condition (1-3) | Cabinet Condition (1-3) | Rail/Curb Condition (1-3) | Condition Notes**
HVAC | Air Cooled Condenser |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Air Handling Unit |  | N/A | N/A |  |  |  | Num | CFM | YYYY | N/A | N/A | N/A | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Boiler |  | N/A | N/A |  |  |  | Num | MBH | YYYY | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Chiller |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | N/A |  |  | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Cooling Tower |  | N/A | N/A |  |  |  | Num | Tons | YYYY | N/A | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Dehumidification Unit |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | Fan Coil Unit |  | N/A | N/A |  |  |  | Num | CFM | YYYY |  |  | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Forced Air Furnace |  | N/A | N/A |  |  |  | Num | MBH | YYYY | N/A | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Heat Pump |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | N/A |  |  | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
HVAC | HVAC Split-System | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NUM | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Open Drive Compressor |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Power Roof Ventilators (Exhaust Fans) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NUM | N/A | N/A | N/A | N/A | N/A | N/A
HVAC | Rooftop Unit |  | N/A | N/A |  |  |  | Num | Tons | YYYY |  |  |  | YORN |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A |  | N/A
Refrig | Air Cooled Condenser | * | [5 empty] | Num | Fans | N/A |  |  |  | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Condensing Unit | * | [5 empty] | Num | MBH | N/A |  |  |  | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Condensing Unit Compressor | * | N/A |  |  |  |  | Num | HP | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YORN | YORN | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Evaporative Condenser | * | [5 empty] | Num | MBH | N/A |  |  | N/A | N/A |  |  | N/A | N/A | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Rack Compressors | * | N/A |  |  |  |  | Num | HP | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YORN | YORN | YORN | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Rack/RTCR/DCR | * | [5 empty] | N/A | N/A | N/A |  |  |  | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A
Refrig | Refrigerated Cases | * | [5 empty] | Num | Doors or Length | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED |  | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Refrig | Walk In Box | * |  |  |  | (Panel Thickness) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED | CFL or LED |  | N/A | YORN | N/A |  | N/A | N/A | N/A | N/A
Refrig | Walk In Evaporator | * | N/A |  |  |  |  | Num | Fans | N/A |  | N/A | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
Self | Self-Contained | * |  | N/A |  |  |  | Num | Doors or Length | N/A |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CFL or LED | N/A | N/A | N/A |  | N/A | N/A |  | N/A | N/A | N/A | N/A
Note on V1: Byers, Brett: Can be dry cooler (aka, Liebert type air cooled condenser), closed loop evaporative cooling, or open loop with a heat exchanger.

## Lookups
Common Lookups
RefrigerantType | [5 empty] | Kano
R-12 | [5 empty] | Must-Be
R-134A | [5 empty] | Satisfier
R-22 | [5 empty] | Delighter
R-290 | [5 empty] | Indifferent
R-401A | [5 empty] | --Not Collected--
R-402A
R-402B
R-403B
R-404A
R-407A
R-407C
R-408A
R-409A
R-414A
R-414B
R-448A
R-449A
R-450A
R-502
R-507
R-513A
R-717
R-744
Refrigeration Lookups
General
Location | FoodAreaService | LightingManufacturer
Bakery/Deli | Dairy | Anthony
Backroom | Deli | GE
Café | Frozen | GE - GEN3
Liquor Store | Meat | HillPhoenix
Plenum | Multiple | Hussmann
PUC | Produce | Other
Roof | Seafood | Philips
Sales Floor |  | Sloan
Starbucks
Air Cooled Condenser
Make
Bohn
Carrier
Heatcraft
Hill Phoenix
Hussmann
Krack
Liebert
Tyler
Witt
Evaporative Condenser
Make
Baltimore Air Coil
Marley
Recold
Condensing Unit
Make
Bohn
Cancoil Thermal
Carrier
Correctemp
DataAire
Heatcraft
Hill Phoenix
Hussmann
Krack
Liebert
Manitowoc
Russell
Tyler
Witt
Rack/RTCR/DCR
Make
Carrier
Heatcraft
Hill Phoenix
Hussmann
Tyler
Zero Zone
Compressor
Make
Bitzer
Copeland
Hitachi
Tecumseh
Walk In Box
Make
CrownTonka
Kaiser (KPS)
US Cooler
Walk In Evaporator
Make
Bohn
Heatcraft
Krack
Hussmann
Hill Phoenix
Witt
System Cases
Make
Barker
Columbus Showcase
Federal
Hill Phoenix
Hussmann
Tyler
Zero Zone
Self-Contained
Make
Arctic Glacier
Beverage Air
Carrier
ColdTech
Columbus Showcase
Crystal Tips
Delfield
Federal
Frigidaire
Galaxy
Hill Phoenix
Hobart
Hussmann
Ice-O-Matic
Leer
Manitowoc
McCall
Miracool
National Refrigeration
Premier
Randell
Refcon
Scotsman
Stanley Knight
Structural Concepts
Traulsen
Tyler
Universal Nolan
TRUE
Zero Zone
HVAC Look ups
Rooftop Units
Make | Size | Area Served | Set 1 Filter Quanity | Set 1 Filter Size | Set 2 Filter Quantity | Set 2 Filter Size | Refrigerant Type | ERV | VFD | Belt 1 Quantity | Belt 1 Size | Belt 2 Quantity | Belt 2 Size | Belt 3 Quantity | Belt 3 Size | Unit Voltage | ERV Filter Size | ERV Filter Quantity | ERV Mist Elimintor Size | Condenser Coil Condition (1-3) | Refrigerant Tag ID Number | Cabinet Condition (1-3)
TRANE | 1 | Guest Service | 1 | 10 x 20 x 1 | 1 | 10 x 20 x 1 | R-12 | Y | Y | 1 |  | 1 |  | 1 |  | 460-3 | 10 x 20 x 1 | 4 |  | 1 |  | 1
CARRIER | 2 | Food Service | 2 | 10 x 20 x 2 | 2 | 10 x 20 x 2 | R-123 | N | N | 2 |  | 2 |  | 2 |  | 280-3 | 10 x 20 x 2 | 5 |  | 2 |  | 2
AAON | 3 | Starbucks | 3 | 10 x 25 x 1 | 3 | 10 x 25 x 1 | R-134a |  |  | 3 |  | 3 |  | 3 |  |  | 10 x 25 x 1 | 6 |  | 3 |  | 3
LENNOX | 4 | Pharmacy | 4 | 12 x 12 x 1 | 4 | 12 x 12 x 1 | R-22 |  |  | 4 |  | 4 |  | 4 |  |  | 12 x 12 x 1 | 7
RUUD | 5 | Office | 5 | 12 x 20 x 1 | 5 | 12 x 20 x 1 | R-401A |  |  | 5 |  | 5 |  | 5 |  |  | 12 x 20 x 1 | 8
MCQUAY | 7.5 | Stock | 6 | 12 x 20 x 2 | 6 | 12 x 20 x 2 | R-404A | [9 empty] | 12 x 20 x 2
BRYANT | 8.5 | Receiving | 7 | 12 x 24 x 1 | 7 | 12 x 24 x 1 | R-407A | [9 empty] | 12 x 24 x 1
YORK | 10 | Sales | 8 | 12 x 24 x 2 | 8 | 12 x 24 x 2 | R-410A | [9 empty] | 12 x 24 x 2
| 12.5 | Sales Market | 9 | 12 x 25 x 1 | 9 | 12 x 25 x 1 | R-507 | [9 empty] | 12 x 25 x 1
| 15 | Sales Checklanes | 10 | 12 x 25 x 2 | 10 | 12 x 25 x 2 | Water | [9 empty] | 12 x 25 x 2
| 20 | Sales Fitting Rooms |  | 14 x 14 x 2 |  | 14 x 14 x 2 | [10 empty] | 14 x 14 x 2
| 25 | Clinic |  | 14 x 20 x 2 |  | 14 x 20 x 2 | [10 empty] | 14 x 20 x 2
| 30 | Optical |  | 15 x 20 x 1 |  | 15 x 20 x 1 | [10 empty] | 15 x 20 x 1
| 35 |  |  | 15 x 25 x 2 |  | 15 x 25 x 2 | [10 empty] | 15 x 25 x 2
| 40 |  |  | 16 x 16 x 2 |  | 16 x 16 x 2 | [10 empty] | 16 x 16 x 2
| 45 |  |  | 16 x 20 x 1 |  | 16 x 20 x 1 | [10 empty] | 16 x 20 x 1
| 50 |  |  | 16 x 20 x 2 |  | 16 x 20 x 2 | [10 empty] | 16 x 20 x 2
| 55 |  |  | 16 x 20 x 4 |  | 16 x 20 x 4 | [10 empty] | 16 x 20 x 4
| 60 |  |  | 16 x 24 x 1 |  | 16 x 24 x 1 | [10 empty] | 16 x 24 x 1
| 65 |  |  | 16 x 24 x 2 |  | 16 x 24 x 2 | [10 empty] | 16 x 24 x 2
| 70 |  |  | 16 x 25 x 1 |  | 16 x 25 x 1 | [10 empty] | 16 x 25 x 1
| 75 |  |  | 16 x 25 x 2 |  | 16 x 25 x 2 | [10 empty] | 16 x 25 x 2
| 80 |  |  | 18 x 18 x 1 |  | 18 x 18 x 1 | [10 empty] | 18 x 18 x 1
| 95 |  |  | 18 x 18 x 2 |  | 18 x 18 x 2 | [10 empty] | 18 x 18 x 2
| 100 |  |  | 18 x 20 x 1 |  | 18 x 20 x 1 | [10 empty] | 18 x 20 x 1
| 105 |  |  | 18 x 20 x 2 |  | 18 x 20 x 2 | [10 empty] | 18 x 20 x 2
| 110 |  |  | 18 x 24 x 2 |  | 18 x 24 x 2 | [10 empty] | 18 x 24 x 2
| 120 |  |  | 18 x 25 x 2 |  | 18 x 25 x 2 | [10 empty] | 18 x 24 x 2
| 125 |  |  | 20 x 20 x 1 |  | 20 x 20 x 1 | [10 empty] | 18 x 25 x 2
| 150 |  |  | 20 x 20 x 2 |  | 20 x 20 x 2 | [10 empty] | 20 x 16 x 2
| 225 |  |  | 20 x 20 x 4 |  | 20 x 20 x 4 | [10 empty] | 20 x 20 x 1
| 250 |  |  | 20 x 21 x 1 |  | 20 x 21 x 1 | [10 empty] | 20 x 20 x 2
|  |  |  | 20 x 24 x 1 |  | 20 x 24 x 1 | [10 empty] | 20 x 20 x 4
|  |  |  | 20 x 24 x 2 |  | 20 x 24 x 2 | [10 empty] | 20 x 21 x 1
|  |  |  | 20 x 25 x 1 |  | 20 x 25 x 1 | [10 empty] | 20 x 24 x 1
|  |  |  | 20 x 25 x 2 |  | 20 x 25 x 2 | [10 empty] | 20 x 24 x 2
|  |  |  | 20 x 25 x 4 |  | 20 x 25 x 4 | [10 empty] | 20 x 25 x 1
|  |  |  | 22 x 25 x 2 |  | 22 x 25 x 2 | [10 empty] | 20 x 25 x 2
|  |  |  | 24 x 24 x 1 |  | 24 x 24 x 1 | [10 empty] | 20 x 25 x 4
|  |  |  | 24 x 24 x 2 |  | 24 x 24 x 2 | [10 empty] | 22 x 25 x 2
|  |  |  | 24 x 28 x 1 |  | 24 x 28 x 1 | [10 empty] | 24 x 20 x 2
|  |  |  | 25 x 25 x 2 |  | 25 x 25 x 2 | [10 empty] | 24 x 24 x 1
24 x 24 x 2
24 x 28 x 1
Dehumidifcation Unit | [16 empty] | 25 x 25 x 2
Make | Area Served
Munters | Sales Market
Seasons 4 | Sales Checklanes
CES | Sales Fitting Rooms
Sales
Pumps
Heating System/Cooling System
Cooling
Heating
Heat Pumps
Water-Cooled
Y
N

## Lookups Joe
RefrigerantType | Area Served | Location
R-12 | Clinic | Bakery/Deli
R-134A | Food Service | Backroom
R-22 | Guest Service | Café
R-290 | Office | Liquor Store
R-401A | Optical | Plenum
R-402A | Pharmacy | PUC
R-402B | Receiving | Roof
R-403B | Sales | Sales Floor
R-404A | Sales Checklanes | Starbucks
R-407A | Sales Fitting Rooms
R-407C | Sales Market
R-408A | Starbucks
R-409A | Stock
R-414A
R-414B
R-448A
R-449A
R-450A
R-502
R-507
R-513A
R-717
R-744

## Make and Model
Type | Make
Rooftop Units | TRANE
Rooftop Units | CARRIER
Rooftop Units | AAON
Rooftop Units | LENNOX
Rooftop Units | RUUD
Rooftop Units | MCQUAY
Rooftop Units | BRYANT
Rooftop Units | YORK
Self-Contained | Arctic Glacier
Self-Contained | Beverage Air
Self-Contained | Carrier
Self-Contained | ColdTech
Self-Contained | Columbus Showcase
Self-Contained | Crystal Tips
Self-Contained | Delfield
Self-Contained | Federal
Self-Contained | Frigidaire
Self-Contained | Galaxy
Self-Contained | Hill Phoenix
Self-Contained | Hobart
Self-Contained | Hussmann
Self-Contained | Ice-O-Matic
Self-Contained | Leer
Self-Contained | Manitowoc
Self-Contained | McCall
Self-Contained | Miracool
Self-Contained | National Refrigeration
Self-Contained | Premier
Self-Contained | Randell
Self-Contained | Refcon
Self-Contained | Scotsman
Self-Contained | Stanley Knight
Self-Contained | Structural Concepts
Self-Contained | Traulsen
Self-Contained | Tyler
Self-Contained | Universal Nolan
Self-Contained | TRUE
Self-Contained | Zero Zone
Walk In Box | CrownTonka
Walk In Box | Kaiser (KPS)
Walk In Box | US Cooler
Walk In Evaporator | Bohn
Walk In Evaporator | Heatcraft
Walk In Evaporator | Krack
Walk In Evaporator | Hussmann
Walk In Evaporator | Hill Phoenix
Walk In Evaporator | Witt
System Cases | Barker
System Cases | Columbus Showcase
System Cases | Federal
System Cases | Hill Phoenix
System Cases | Hussmann
System Cases | Tyler
System Cases | Zero Zone
Condensing Unit | Bohn
Condensing Unit | Cancoil Thermal
Condensing Unit | Carrier
Condensing Unit | Correctemp
Condensing Unit | DataAire
Condensing Unit | Heatcraft
Condensing Unit | Hill Phoenix
Condensing Unit | Hussmann
Condensing Unit | Krack
Condensing Unit | Liebert
Condensing Unit | Manitowoc
Condensing Unit | Russell
Condensing Unit | Tyler
Condensing Unit | Witt
Rack/RTCR/DCR | Carrier
Rack/RTCR/DCR | Heatcraft
Rack/RTCR/DCR | Hill Phoenix
Rack/RTCR/DCR | Hussmann
Rack/RTCR/DCR | Tyler
Rack/RTCR/DCR | Zero Zone
Compressor | Bitzer
Compressor | Copeland
Compressor | Hitachi
Compressor | Tecumseh
Air Cooled Condenser | Bohn
Air Cooled Condenser | Carrier
Air Cooled Condenser | Heatcraft
Air Cooled Condenser | Hill Phoenix
Air Cooled Condenser | Hussmann
Air Cooled Condenser | Krack
Air Cooled Condenser | Liebert
Air Cooled Condenser | Tyler
Air Cooled Condenser | Witt
Evaporative Condenser | Baltimore Air Coil
Evaporative Condenser | Marley
Evaporative Condenser | Recold
Lighting | Anthony
Lighting | GE
Lighting | GE - GEN3
Lighting | HillPhoenix
Lighting | Hussmann
Lighting | Other
Lighting | Philips
Lighting | Sloan

## Refrigeration_Kano (hidden)
Asset Type | Attributes | Air Cooled Condenser |  | Evaporative Condenser |  | Condensing Unit |  | Condensing Unit Compressor |  | Rack/RTCR/DCR |  | Rack Compressors |  | Walk In Box |  | Walk In Evaporator |  | Cases
Total Quanity |  | 3540 |  | 62 |  | 5400 |  | 5400 |  | 3600 |  | 18000 |  | 5400 |  | 10800 |  | 216000
Avg Per Store |  | 2 |  | 2 |  | 3 |  | 3 |  | 2 |  | 10 |  | 3$ |  | 5 |  | 120 |  | Notes
Asset Field | Asset Name* | ACC A | Must-Be | ECC A | Must-Be | CU-F | Must-Be | 1 | Must-Be | RTCR A | Must-Be | 1 | Must-Be | A-01 | Must-Be | ### (A-01A) | Must-Be | B-01A | Must-Be | If missing, make note
| Make | Bohn | Must-Be | Baltimore Air Coil | Must-Be | Bohn | Must-Be | Bitzer | Must-Be | Zero Zone | Must-Be | Bitzer | Must-Be | CrownTonka | Must-Be | Bohn | Must-Be | Hussmann | Must-Be
| Model | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### (Panel Thickness) | Must-Be | ### | Must-Be | ### | Must-Be
| Serial | ### | Satisfier | ### | Satisfier | ### | Satisfier | ### | Satisfier | ### | Satisfier | ### | Satisfier | --- | --Not Collected-- | ### | Satisfier | ### | Satisfier
| Location | Roof | Must-Be | Roof | Must-Be | Plenum | Must-Be | --- | Must-Be | Roof | Must-Be | --- | Must-Be | Stock | Must-Be | --- | --Not Collected-- | Sales Floor | Must-Be
Specifications | Area Served/Service | System A | Indifferent | System A | Indifferent | System F | Indifferent | CU-F | Must-Be | System A | Indifferent | A | Must-Be | Frozen | Must-Be | A-01 | Must-Be | Produce | Must-Be
| Refrigerant Type | R-12 | Indifferent | R-12 | Indifferent | R-12 | Indifferent | --- | --Not Collected-- | R-12 | Must-Be | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Refrigerant Charge | --- | --Not Collected-- | --- | --Not Collected-- | ### | Must-Be | --- | --Not Collected-- | ### | Must-Be | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Refrigerant Tag ID Number | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | --- | --Not Collected-- | ### | Must-Be | ### | Must-Be
| Unit Voltage | ### | Delighter | ### | Delighter | ### | Satisfier | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected-- | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected--
| Unit Phase | ### | Delighter | ### | Delighter | ### | Satisfier | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected-- | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected--
| Size | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | --- | --Not Collected-- | ### | Must-Be | --- | --Not Collected-- | ### | Must-Be | ### | Must-Be
| Units | Fans | --Not Collected-- | MBH | --Not Collected-- | MBH | --Not Collected-- | HP | --Not Collected-- | --- | --Not Collected-- | HP | --Not Collected-- | --- | --Not Collected-- | Fans | --Not Collected-- | Doors -or- Length | Must-Be
| Unloading | Y/N | Delighter | Y/N | Delighter | Y/N | Delighter | Y/N | Delighter | --- | --Not Collected-- | Y/N | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Head Fan | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | Y/N | Satisfier | --- | --Not Collected-- | Y/N | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Liquid Cooling | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | Y/N | Satisfier | --- | --Not Collected-- | Y/N | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Overhead Lighting Type | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | LED -or- CFL | Must-Be | --- | --Not Collected-- | --- | --Not Collected--
| Rear-Fed Doors | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | Y/N | Must-Be | --- | --Not Collected-- | --- | --Not Collected--
| Door Lighting Type | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | LED -or- CFL | Satisfier | --- | --Not Collected-- | LED -or- CFL | Satisfier
| Door Lighting Manufacturer | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | Anthony | Delighter | --- | --Not Collected-- | Anthony | Satisfier
| Overall Condition (1-3) | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be | ### | Must-Be
| Cabinet Condition (1-3) | ### | Delighter | ### | Delighter | ### | Delighter | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Condenser Fin Condition (1-3) | ### | Must-Be | ### | Indifferent | ### | Must-Be | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Rail/Curb Condition (1-3) | ### | Delighter | ### | Indifferent | ### | Delighter | --- | --Not Collected-- | ### | Delighter | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected-- | --- | --Not Collected--
| Condition Notes** | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter | ### | Delighter
Notes: |  | *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of condenser fin damage. |  | Equipment primarily located in south-west. *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of tube bundle damage. |  | *May not be visible - Note which refrigeration system the unit is associated with. **Only need to note/pictures of damage. |  | * Record position in "Asset Name" |  | **Unit pictures. |  | * Record position in "Asset Name" |  | $ Super Targets will have around 7 **Note ice, panels splitting, reseal and take pictures of damage. May need access to top of box. |  | **Only need to note/pictures of ice buildup/damage. |  | **Only need to note/pictures of damage.
| 72 | Must-Be | 8 |  | 7 |  | 9 |  | 8 |  | 8 |  | 8 |  | 8 |  | 7 |  | 9
| 15 | Satisfier | 1 |  | 1 |  | 3 |  | 3 |  | 1 |  | 1 |  | 1 |  | 1 |  | 3
| 29 | Delighter | 6 |  | 5 |  | 4 |  | 2 |  | 5 |  | 1 |  | 2 |  | 3 |  | 1
| 9 | Indifferent | 2 |  | 4 |  | 2 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0
| 100 | --Not Collected-- | 8 |  | 8 |  | 7 |  | 12 |  | 10 |  | 15 |  | 14 |  | 14 |  | 12
Overall Condition Scoring | 1. Like-new
2. Scuff marks, small dents/dings, low number of missing components, dirty
3. Major rust, dents, missing components, visibly failed
Cabinet Condition Scoring | 1. Minimal corrosion/rust
2. Moderate corrosion/rust
3. External rust to the point where components can’t function, missing cabinet seals
Condenser Fin Condition Scoring | 1. Minimal to no damage, can be combed out
2. Moderate damage, can be combed, minimal corrosion, plugged/dirty
3. Extensive fin corrosion, fins erode to the touch, visible compressor oil, major hail damage
Rail/Curb Condition Scoring | 1. Minimal corrosion/rust
2. Moderate corrosion/rust
3. Rust holes, missing/rusted through bolts, curb sealant missing, holes in curb
Select from list
Locked to Asset Type
Note on B17: Byers, Brett: Unloading has 3 basic forms, two of them block the suction line and have solenoid operated valves that will close to reduce return flow. Another (Copeland) is a modulation control built into the head of the compressor. Still has wiring that goes into the head. Generally if you see wiring going to the head, that indicates an unloader. The third type is hot gas bypass. Again there ia a solenoid controlled valve on the discharge of the
Note on B18: Byers, Brett: Head fans are mounted on top of the compressor heads. Their function is to cool heads to reduce superheat and improve compressor life.

## Self-Contained_Kano (hidden)
Asset Type | Self-Contained
Total Quanity | 54000
Avg Per Store | 30
| Attributes | Example |  | Notes
Asset Field | Asset Name* | B-01A | Must-Be | If missing, make note
| Make | Hussmann | Must-Be
| Model | ### | Must-Be
| Serial | ### | Satisfier
| Location | --- | Must-Be
| Refrigerant Tag ID Number | ### | Must-Be
| Refrigerant Type | R-12 | Must-Be
| Refrigerant Charge | ### | Must-Be
| Size | ### | Must-Be
| Units | Doors -or- Length | Must-Be
| Lighting Type | LED -or- CFL | Delighter
| Lighting Manufacturer | Anthony | Delighter
| Condition (1-3) | ### | Must-Be
| Condition Notes* |  | --Not Collected--
Notes: | *If not monitored, record N/A. **Only need to note/pictures of damage.
|  | Must-Be | 10
|  | Satisfier | 1
|  | Delighter | 2
|  | Indifferent | 0
|  | --Not Collected-- | 1
|  | *Asset Names |  | Bagged Ice Freezer
Counter Top Cooler
Grab n Go cooler
Ice Maker
Prep Table
Retarder
Reach-In_Upright Cooler
Reach-In_Upright Freezer
Experience Center
Orchard Bin
Produce Table
Seafood Road Show
Starbucks_Pastry Case
Under Counter Cooler
Under Counter Freezer
Overall Condition Scoring | 1. Like-new
2. Scuff marks, small dents/dings, low number of missing components, dirty
3. Major rust, dents, missing components, visibly failed